## Add Your Cytometers Here
Instrument Template | For help, please see "Example" tab below
|  |  |  | only if you have co-lasers | optional
Institution | Core Facility or Department Name | Cytometer | Laser(s) | Colaser group | Channel Labels | Filter(s) BP | Filter(s) LP | Filter(s) SP | Preferred Colors | Swap Filter(s) BP | Swap Filter(s) LP | Swap Colors
Your Institution Name Here | Your Core or Lab name here | [7 empty] | For help, please see "Example" tab below
For help, please see "Example" tab below

## Example
Instrument Template
Only use this area if your cytometer has swappable filters
Examples | Add your cytometers on other tab at bottom | [8 empty] | Swap 1 |  |  | Swap 2
Institution | Core Facility | Cytometer | Laser(s) | Colaser group | Channel Labels | Filter(s) BP | Filter(s) LP | Filter(s) SP | Preferred Colors | Swap Filter(s) BP | Swap Filter(s) LP | Swap Colors | Swap Filter(s) BP | Swap Filter(s) LP | Swap Colors
Cincinnati Children's | Research Flow Cytometry Core Facility | Fortessa 2 | 355 |  | labels are | 450/50 |  |  | DAPI, Hoechst Blue (33258), Live/Dead Fix Blue, Zombie Blue | 379/28 |  | BUV395 | 405/20 |  | Indo-Hi (Ca2+bound)
[5 empty] | optional | 530/30 | 505 |  | Indo-Lo (Ca2+free) | 730/45 | 635 | BUV737 |  | 670 | Hoechst Red (33342)
|  |  | 405 |  | F | 450/50 |  |  | Alexa Fluor 405, Brilliant Violet 421, eFluor 450, Pacific Blue, V450 | 480/30 |  | CFP
[5 empty] | E | 525/50 | 505 |  | Brilliant Violet 510, V500
[5 empty] | D | 610/20 | 600 |  | Brilliant Violet 605
[5 empty] | C | 670/30 | 635 |  | Brilliant Violet 650
[5 empty] | B | 710/50 | 690 |  | Brilliant Violet 711
[5 empty] | A | 780/60 | 750 |  | Brilliant Violet 786
|  |  | 488 |  | B | 530/30 | 505 |  | Alexa Fluor 488, BB 515, FITC, GFP, Venus, YFP | 575/26 |  | PE
[5 empty] | A | 695/40 | 685 |  | PerCP, PerCP-Cy5.5 | 575/26 |  | PE | 780/60 |  | PE-Cy7
|  |  | 561 |  | E | 586/14 |  |  | Ds Red, dTomato, PE
[5 empty] | D | 610/20 | 600 |  | m Cherry, PE-Alexa 610, PE-CF594, PI
[5 empty] | C | 660/20 | 635 |  | 7-AAD, PE-Alexa 647, PE-Cy5
[5 empty] | B | 710/50 | 685 |  | PE-Cy5.5
[5 empty] | A | 780/60 | 750 |  | PE-Alexa 750, PE-Cy7
University of Virginia | VA School of Medicine - FCCF | ImageStreamX Mark II | 405 | 2 |  | 462/85 |  |  | DAPI, Alexa Fluor 405, Pacific Blue, eFluor 450, Brilliant Violet 421, V450
[6 empty] | 537/65 |  |  | Alexa Fluor 430, Pacific Orange, Brilliant Violet 510, V500
[6 empty] | 582/25 |  |  | Qdot 585
[6 empty] | 627/65 |  |  | Qdot 625, Brilliant Violet 605, eFluor 605NC
[6 empty] | 700/80 |  |  | Qdot 705, Brilliant Violet 711, eFluor 650NC
[6 empty] | 770/60 |  |  | Qdot 800, Brilliant Violet 785
|  |  | 488 | 1 |  | 520/40 |  |  | FITC, GFP, YFP, Alexa Fluor 488, DyLight 488, BB 515
[6 empty] | 577/35 |  |  | Ds Red, PE
[6 empty] | 627/65 |  |  | PE-Texas Red, PI, ECD
[6 empty] | 700/80 |  |  | PerCP, PerCP-Cy5.5, PE-Cy5, PE-Cy5.5
[6 empty] | 770/60 |  |  | PE-Cy7, PE-Alexa 750
|  |  | 561 | 1 |  | 577/35 |  |  | Ds Red, PE, DyLight 549
[6 empty] | 627/65 |  |  | PE-Texas Red, PI, ECD, RFP, m Cherry, Alexa Fluor 594, DyLight 594, Texas Red
[6 empty] | 700/80 |  |  | PE-Cy5, PE-Cy5.5,
[6 empty] | 770/60 |  |  | PE-Cy7, PE-Alexa 750
|  |  | 640 | 2 |  | 700/80 |  |  | APC, APC-Cy5.5, DyLight 649, Alexa Fluor 647
[6 empty] | 770/60 |  |  | APC-Cy7, APC-H7, APC-eFluor 780, DyLight 750
Note on F4: Microsoft Office User: Option to label channels up to 5 characters